## Slide 1: Bio-inspired ADC design for biomedical application
31 March 2023
IFTAKHER Mohammed Akib
KIBIWOTT Albert Kiplagat

## Slide 2
Introduction
Objectives
Algorithm
Methodology
State Machine
Results & Analysis
Conclusion
Outline

## Slide 3: Introduction
Most biomedical application requires converters with a modest speed of about 10kS/s and a resolution of 10 bits.
As these systems are integrated in personal area network (PAN), energy-efficient conversion techniques and area play a key role.
Classical architectures like SAR, Sigma-Delta, single-slope, algorithmic, successive-approximation could be used.
The ADC design is inspired by the operation of integrate-and-fire spiking neurons where it explicitly exploits time as a signal variable.

## Slide 4: Objectives
To study and design a bio-inspired ADC architecture presented in the literature [1] ,[2].
To perform high level of modeling in MATLAB.
To implement the circuit and simulate the behavior in Cadence.

## Slide 5: Bio-inspired ADC
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 6: Algorithm : Explanation
2. Quantizing The Residue (Novel Successive Subranging Phase)
Two cases:
Tres < Tclk/2 : 3TresB + Tres = 2Tclk + Tres1. Replacing TresB =>Tres1 = Tclk-2Tres
Tres > Tclk/2: 3TresB + Tres = Tclk + Tres1. Replacing TresB =>Tres1 = 2Tclk-2Tres
At each step the initial residue is multiplied by 2 (Amplification)
1. MSB Phase (Dual-Slope Phase)
Ratio: Iinmax≤ 4*Iref
If the integration of Iref last less than one clock cycle => 00, one => 01, two=> 10, three => 11.
At the end of the step 1 , we have the residue Tres and TresB (equivalent to the complementary timeTresB):
TresB = Tclk-Tres.
MSB phase
Next bit
[1]
[1]

## Slide 7: Algorithm
2 MSB
Bit n

## Slide 8
Evolution of residue and Example
Tres
TresB
2TresB
Tres
TresB
2TresB
Tres
C1
C2
C1
C1
C2
C2
C1
C2

## Slide 9: Methodology : High Level Modeling

## Slide 10: State Machine
Initial
S_in
S_ref
S_dis_C1C2
S_TVN
S_VTN
S_disC1
S_2XN
S_TVP
S_VTP
S_disC2
S_2XP
CE
CE
CO
CE
CO
CO
CO
CO
CO
CE
CO
CO
CO
MSB
Positive Index Phase
Negative Index Phase
CE – Clock Edge
CO – Comparator Output

## Slide 11: Reset
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 12: Initial
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 13: S_in
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 14: S_ref
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 15: S_ref (If V1 and V2 are equal)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 16: S_dis_C1_C2 (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 17: S_TVN (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 18: S_VTN (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 19: S_disC1 (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 20: S_2XN (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 21: S_disC1C2 (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 22: S_TVP (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 23: S_VTP (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 24: S_disC2 (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 25: S_2XP (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 26: S_dis_C1C2 (Proposed)
result
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
clock
reset
start
comp
clock
reset
start
comp
SAm
SAp
SBm
SBp
SCm
SCp
SDm
SDp
SEm
SEp
SFm
SFp
C1
C2
Iin
Iref
V1
V2

## Slide 27: Circuit Implementation
Matched Capacitors:
CMOS Switch Sizing:
Pmos => W= 17m , L= 300nm
Nmos => W= 5 , L= 300nm

## Slide 28: Results & Analysis (Only MSB)

## Slide 29: Results & Analysis (Only MSB)

## Slide 30: Error Cancellation Properties
Idea: whatever elements “add” error to our signal during time-to-voltage conversion also “subtract” the same error from our signal during voltage-to-time conversion.
I. Comparator Delay and Offset
Voltage offset in our comparator can simply be translated into a comparator delay → the comparator requires a finite amount of time to signal that the voltages on the two capacitors are equal.
Reintroduction of the delay is required for the successive stage errors to cancel, and the process starts anew.
II. Switching Charge Injection:
Each capacitor requires a switch to reset its charge to zero (dc offset)
Each time a current source switches away from a capacitor, it introduces a finite amount of charge onto the capacitor
Charge injection are minimized in a manner similar to that of the comparator delay.

## Slide 31
Operating on time-based residues with a sequence of integrate-and-fire operations allows for extremely energy-efficient conversion.
We demonstrated that the algorithm naturally alleviates errors due to charge injection, noise, comparator delay and offset.
Power consumption is minimized since amplification is achieved by doing things twice in time rather than through the use of an explicit amplifier.
It could be very useful in portable and wireless biomedical sensors for ECG, PCG, EEG
Conclusion

## Slide 32: Thank You

## Slide 33
[1] Yang, H. Y., & Sarpeshkar, R. (2005). A time-based energy-efficient analog-to-digital converter. IEEE Journal of Solid-State Circuits, 40(8), 1590-1601.
[2] Yang, H. Y., & Sarpeshkar, R. (2006). A bio-inspired ultra-energy-efficient analog-to-digital converter for biomedical applications. IEEE Transactions on Circuits and Systems I: Regular Papers, 53(11), 2349-2356.
References

## Slide 34
Appendix I : Matlab Code
% Capacitor charging simulation
clc;
clear all;
Tclk = 1;
n_bits = 10;
Iref = 10; % reference charging current
nb_points = 1000;
for k = 1:nb_points
Iin = k*40/nb_points; % Input charging current
fprintf('Iin : %d\n', Iin);
% Check if I1 is less than 4 times I2
if Iin >= 4*Iref
warning('Iin should be less than 4 times Iref');
end
% Calculate the charge required for capacitor C1
Q1 = Tclk * Iin;
% Calculate the time required to charge capacitor C2
Tref = Q1 / Iref;
Tref_int = fix(Tref);
Code = Tref_int * 2^(n_bits-2); % Giving weight to MSB
Tres = zeros(1,n_bits-1); % set the value of Tres
TresB = zeros(1,n_bits-1);
% Calacultate the residual time
Tres(1) = Tref - Tref_int;
TresB(1) = Tclk - Tres(1);
for n = 1:n_bits-2
m = n+2;
if 2*TresB(n) > Tclk
ADC(m) = 1;
TresB(n+1)=2*Tclk-2*TresB(n);
else
ADC(m) = 0;
TresB(n+1)=Tclk-2*TresB(n);
end
Code = Code + (ADC(m)+1)*(-2)^(n_bits-2-n);
end
Code_fin(k)=Code+254;
fprintf('Code = %d \n', Code);
end
figure();
plot(Code_fin);
xlabel('Input Voltage');
ylabel('Code’);

## Slide 35
Appendix II : VHDL Code (MSB only)

## Slide 36
Appendix III : VHDL Code (MSB only) cont’

## Slide 37
Appendix III : VHDL Code (with subranging part suggestion)

## Slide 38
Appendix III : VHDL Code (with subranging part suggestion)

## Slide 39
Appendix III : VHDL Code (with subranging part suggestion)

## Slide 40
Appendix IV : Clock & Start Generator Code

## Slide 41
Appendix V : CMOS Switch Schematic
Figure : CMOS-based Switch
Figure : Double Switch Implementation

## Slide 42
Appendix VI : Illustration of comparator delay cancellation
[1]